## Slide 1: Studio dell’attività dei radionuclidi prodotti dal bersaglio SPES-ISOLPHARM
Laureando: Aurora Leso

## Slide 2: Calibration steps: 152Eu & 241Am sources

## Slide 3: Results: calibration fits

## Slide 4: Results: resolution fits

## Slide 5: Results: efficiency fits

## Slide 6: Analysis of Pd-enriched data Activity and half-life estimation

## Slide 7: Plot activity vs time from irradiation ending 111Ag peaks
342 keV
245 keV

## Slide 8
T1/2=7.29 days (expected ≈7.5d)
Half-life results
for 342 keV

## Slide 9
T1/2=7.21 days (expected ≈7.5d)
Half-life results
for 245 keV

## Slide 10: Plot activity vs time from irradiation ending 109Pd peaks
309 keV
311 keV

## Slide 11
T1/2=6h (expected ≈13h)
Half-life results
for 309 keV

## Slide 12
T1/2=9h (expected ≈13h)
Half-life results
for 311 keV

## Slide 13: Plot activity vs time from irradiation ending 109Pd peaks
88 keV

## Slide 14
T1/2=13.7h (expected ≈13h)
Half-life results
for 88 keV

## Slide 15: Plot activity vs time from irradiation ending 111mPd peak
575 keV

## Slide 16
T1/2=5.7h (expected ≈5.5h)
Half-life results
for 575 keV

## Slide 17: Future objectives

## Slide 18: Future objectives
Integrate 172 keV peak for 111m-Pd
Check dead time corrections
Justify or correct half-life results
Compute uncertanties